Purpose:  On some LS140’s when Pulse Out is selected as the action in Pass/Fail, the pulse does not come out.  If the Serial/Parallel/Hard/Floppy controller is as shown below a jumper must be changed.

Parts Required:

None

Description:

- On Serial/Parallel/Hard/Floppy controller the jumper for parallel mode (PAR MODE) must be changed from default to EPP as shown below.