exercise

16A

Skeletal Muscle Physiology:

Frogs and Human Subjects

Objectives

1.	To observe muscle contraction on the microscopic level and describe the role of ATP and various ions in muscle contraction.

2.	To define and explain the physiological basis of the following:
depolarization
repolarization
action potential
absolute and relative refractory periods
subthreshold stimulus
threshold stimulus
maximal stimulus
treppe
wave summation
tetanus
muscle fatigue

3.	To trace the events that result from the electrical stimulation of a muscle.

4.	To recognize that a graded response of skeletal muscle is a function of the number of muscle fibers stimulated and the frequency of the stimulus.

5.	To name and describe the phases of a muscle twitch.

6.	To distinguish between a muscle twitch and a sustained (tetanic) contraction and to describe their importance in normal muscle activity.

7.	To demonstrate how a computer or physiograph can be used to obtain pertinent and representative recordings of various physiological events of skeletal muscle activity.

8.	To explain the significance of muscle tracings obtained during experimentation.

Materials

q	ATP muscle kits (glycerinated rabbit psoas muscle;* ATP and salt solutions obtainable from Carolina Biological Supply)

q	Petri dishes

q	Microscope slides

q	Coverslips

q	Millimeter ruler

q	Compound microscope

q	Stereomicroscope

q	Pointed glass probes (teasing needles)

q	Small beakers (50 ml)

q	Distilled water

q	Glass-marking pencil

q	Copies of textbooks or other heavy books

q	Watch or timer

q	Ringer’s solution (frog)

q	Scissors

q	Metal needle probes

q	Medicine dropper

q	Cotton thread

q	Forceps

q	Disposable gloves

q	Glass or porcelain plate

q	Pithed bullfrog†

q	Apparatus A or B‡

A: physiograph, physiograph paper and ink, myograph, pin electrodes, stimulator, stimulator output extension cable, transducer stand and cable, straight pins, frog board, laboratory stand, clamp

B. Biopac® MP30 (or MP35) data acquisition unit, PC or Macintosh (Mac) computer with at least 4MB of RAM available above and beyond the operating system needs and any other programs that are running, BIOPAC Student Lab Software v3.0 or greater, wall transformer, serial cable, electrode lead set, hand dynamometer, headphones, metric tape measure, disposable vinyl electrodes, and conduction gel.

PhysioEx™ 5.0 Computer Simulation on page P-1Notes to the Instructor:

*At the beginning of the lab, the muscle bundle should be removed from the test tube and cut into approximately 2-cm lengths. Both the cut muscle segments and the entubed glycerol should be put into a petri dish. One muscle segment is sufficient for each two to four students making observations.

†Bullfrogs to be pithed by lab instructor as needed for student experimentation. (If instructor prefers that students pith their own specimens, an instructional sheet on that procedure suitable for copying for student handouts is provided in the Instructor’s Guide.)

‡Additionally, instructions for Activity 3 using a kymograph or PowerLab equipment can be found in the Instructor’s Guide.##	Exercise 16A

Muscle Activity

The contraction of skeletal and cardiac muscle fibers can be considered in terms of three events—electrical excitation of the muscle cell, excitation-contraction coupling, and shortening of the muscle cell due to sliding of the myofilaments within it.

At rest, all cells maintain a potential difference, or voltage, across their plasma membrane; the inner face of the membrane is approximately 260 to 290 millivolts (mV) compared with the cell exterior. This potential difference is a result of differences in membrane permeability to cations, most importantly sodium (Na1) and potassium (K1) ions. Intracellular potassium concentration is much greater than its extracellular concentration, and intracellular sodium concentration is considerably less than its extracellular concentration. Hence, steep concentration gradients across the membrane exist for both cations. However, because the plasma membrane is slightly more permeable to K1 than to Na1, Na1 influx into the cell is inadequate to balance K1 outflow. The result of this unequal Na1-K1 diffusion across the membrane establishes the cell’s resting membrane potential. The resting membrane potential is of particular interest in excitable cells, like muscle cells and neurons, because changes in that voltage underlie their ability to do work (to contract or to signal in muscle cells and neurons, respectively).

Action Potential

When a muscle cell is stimulated, the sarcolemma becomes temporarily permeable to Na1, which rushes into the cell. This sudden influx of Na1 alters the membrane potential. That is, the cell interior becomes less negatively charged at that point, an event called depolarization. When depolarization reaches a certain level and the sarcolemma momentarily changes its polarity, a depolarization wave travels along the sarcolemma. Even as the influx of Na1 occurs, the sarcolemma becomes impermeable to Na1 and permeable to K1. Consequently, K1 leak out of the cell, restoring the resting membrane potential (but not the original ionic conditions), an event called repolarization. The repolarization wave follows the depolarization wave across the sarcolemma. This rapid depolarization and repolarization of the membrane that is propagated along the entire membrane from the point of stimulation is called the action potential.

While the sodium gates are still open, there is no possibility of another response and the muscle cell is said to be in the absolute refractory period. The relative refractory period is the period after the sodium gates have closed when potassium gates are open and repolarization is ongoing. Especially strong stimuli may provoke a contraction during this part of the refractory period. Repolarization restores the muscle cell’s excitability. Temporarily, the sodium-potassium pump, which actively transports K1 into the cell and Na1 out of the cell, need not be “revved up.” But if the cell is stimulated to contract again and again in rapid-fire order, the loss of K1 and gain of Na1 occurring during action potential generation begins to reduce its ability to respond. And so, eventually the sodium-potassium pump must become more active to reestablish the ionic concentrations of the resting state.

Contraction

Propagation of the action potential along the sarcolemma causes the release of calcium ions (Ca21) from storage in the tubules of the sarcoplasmic reticulum within the muscle cell. When the calcium ions bind to regulatory proteins on the actin myofilaments, they act as an ionic trigger that initiates contraction, and the actin and myosin filaments slide past each other. Once the action potential ends, the calcium ions are almost immediately transported back into the tubules of the sarcoplasmic reticulum. Instantly the muscle cell relaxes.

The events of the contraction process can most simply be summarized as follows: muscle cell contraction is initiated by generation and transmission of an action potential along the sarcolemma. This electrical event is coupled to the sliding of the myofilaments—contraction—by the release of Ca21. Keep in mind this sequence of events as you conduct the experiments.

Activity 1:

Observing Muscle Fiber Contraction

In this simple observational experiment, you will have the opportunity to review your understanding of muscle cell anatomy and to watch fibers respond to the presence of ATP and/or a solution of K1 and magnesium ions (Mg21).

This experiment uses preparations of glycerinated muscle. The glycerination process denatures troponin and tropomyosin. Consequently, calcium, so critical for contraction in vivo, is not necessary here. The role of magnesium and potassium salts as cofactors in the contraction process is not well understood, but magnesium and potassium salts seem to be required for ATP-ase activity in this system.

1.	Talk with other members of your lab group to develop a hypothesis about requirements for muscle fiber contraction for this experiment. The hypothesis should have three parts: (1) salts only, (2) ATP only, and (3) salts and ATP.

2.	Obtain the following materials from the supply area: two glass teasing needles; six glass microscope slides and six coverslips; millimeter ruler; dropper bottles containing the following solutions: (a) 0.25% ATP in triply distilled water, (b) 0.25% ATP plus 0.05 M KCl plus 0.001 M MgCl2 in distilled water, and (c) 0.05 M KCl plus 0.001 M MgCl2 in distilled water; a petri dish; a beaker of distilled water; a glass-marking pencil, and a small portion of a previously cut muscle bundle segment. While you are at the supply area, place the muscle fibers in the petri dish and pour a small amount of glycerol (the fluid in the supply petri dish) over your muscle cells. Also obtain both a compound and a stereomicroscope and bring them to your laboratory bench.

3.	Using clean fine glass needles, tease the muscle segment to separate its fibers. The objective is to isolate single muscle cells or fibers for observation. Be patient and work carefully so that the fibers do not get torn during this isolation procedure.

4.	Transfer one or more of the fibers (or the thinnest strands you have obtained) onto a clean microscope slide with a glass needle, and cover it with a coverslip. Examine the fiber under the compound microscope at low- and then high-power magnifications to observe the striations and the smoothness of the fibers when they are in the relaxed state.

5.	Clean three microscope slides well and rinse in distilled water. Label the slides A, B, and C.

6.	Transfer three or four fibers to microscope slide A with a glass needle. Using the needle as a prod, carefully position the fibers so that they are parallel to one another and as straight as possible. Place this slide under a stereomicroscope and measure the length of each fiber by holding a millimeter ruler adjacent to it. Alternatively, you can rest the microscope slide on the millimeter ruler to make your length determinations. Record the data on the chart at the top of the page.

7.	Flood the fibers (situated under the stereomicroscope) with several drops of the solution containing ATP, K1, and Mg21. Watch the reaction of the fibers after adding the solution. After 30 seconds (or slightly longer), remeasure each fiber and record the observed lengths on the chart. Also, observe the fibers to see if any width changes have occurred. Calculate the degree (or percentage) of contraction by using the following simple formula, and record this data on the chart above.

Initial	2	contracted	5	degree of
	length (mm)		length (mm)		contraction (mm)

then:

Degree of contraction (mm) 3 100 5  % contraction

initial length (mm)

8.	Carefully transfer one of the contracted fibers to a clean microscope slide, cover with a coverslip, and observe with the compound microscope. Mentally compare your initial observations with the view you are observing now. What differences do you see? (Be specific.)

What zones (or bands) have disappeared?

9.	Repeat steps 4 through 8 twice more, using clean slides and fresh muscle cells. On slide B use the solution of ATP in distilled water (no salts). Then, on slide C use the solution containing only salts (no ATP) for the third series. Record data on the chart above.

10.	Collect the data from all the groups in your laboratory and use this data to prepare a lab report. (See Getting Started:Writing a Lab Report, page xii.) Include in your discussion the following questions:

What degree of contraction was observed when ATP was applied in the absence of K1 and Mg21?

What degree of contraction was observed when the muscle fibers were flooded with a K1- and Mg21-containing solution that lacked ATP?

What conclusions can you draw about the importance of ATP, K1, and Mg21 to the contractile process?

Can you draw exactly the same conclusions from the data provided by each group? List some variables that might have been introduced into the procedure and that might account for any differences.

n

Activity 2:

Demonstrating Muscle Fatigue 
in Humans

1.	Work in small groups. In each group select a subject, a timer, and a recorder.

2.	Obtain a copy of the laboratory manual and a copy of the textbook. Weigh each book separately, and then record the weight of each in the chart above right.

3.	The subject is to extend an upper limb straight out in front of him or her, holding the position until the arm shakes or the muscles begin to ache. Record the time to fatigue on the chart.

4.	Allow the subject to rest for several minutes. Now ask the subject to hold the laboratory manual while keeping the arm and forearm in the same position as in step 3 above. Record the time to fatigue on the chart.

5.	Allow the subject to rest again for several minutes. Now ask the subject to hold the textbook while keeping the upper limb in the same position as in steps 3 and 4 above. Record the time to fatigue on the chart.

6.	Each person in the group should take a turn as the subject, and all data should be recorded.

7.	What can you conclude about the effect of load on muscle fatigue? Explain.

Activity 3:

Inducing Contraction in the 
Frog Gastrocnemius Muscle

Physiologists have learned a great deal about the way muscles function by isolating muscles from laboratory animals and then stimulating these muscles to observe their responses. Various stimuli—electrical shock, temperature changes, extremes of pH, certain chemicals—elicit muscle activity, but laboratory experiments of this type typically use electrical shock. This is because it is easier to control the onset and cessation of electrical shock, as well as the strength of the stimulus.

Preparing a Muscle 
for Experimentation

The preparatory work that precedes the recording of muscle activity tends to be quite time-consuming. If you work in teams of two or three, the work can be divided. While one of you is setting up the recording apparatus, one or two students can dissect the frog leg (Figure 16A.1). Experimentation should begin as soon as the dissection is completed.

Various types of apparatus are used to record muscle contraction. All include a way to mark time intervals, a way to indicate exactly when the stimulus was applied, and a way to measure the magnitude of the contractile response. Instructions are provided here for setting up physiograph apparatus (Figure 16A.2). Specific instructions for use of recording apparatus during recording will be provided by your instructor.

Dissection:

Frog Hind Limb

1.	Before beginning the frog dissection, have the following supplies ready at your laboratory bench: a small beaker containing 20 to 30 ml of frog Ringer’s solution, scissors, a metal needle probe, a glass probe with a pointed tip, a medicine dropper, cotton thread, forceps, a glass or porcelain plate, and disposable gloves. While these supplies are being accumulated, one member of your team should notify the instructor that you are ready to begin experimentation, so that a frog can be prepared (pithed). Preparation of a frog in this manner renders it unable to feel pain and prevents reflex movements (like hopping) that would interfere with the experiments.

2.  All students who will be handling the frog should don disposable gloves. Obtain a pithed frog and place it ventral surface down on the glass plate. Make an incision into the skin approximately midthigh (Figure 16A.1), and then continue the cut completely around the thigh. Grasp the skin with the forceps and strip it from the leg and hindfoot. The skin adheres more at the joints, but a careful, persistent pulling motion—somewhat like pulling off a nylon stocking—will enable you to remove it in one piece. From this point on, the exposed muscle tissue should be kept moistened with the Ringer’s solution to prevent spontaneous twitches.

3.	Identify the gastrocnemius muscle (the fleshy muscle of the posterior calf) and the calcaneal (Achilles) tendon that secures it to the heel.

4.	Slip a glass probe under the gastrocnemius muscle and run it along the entire length and under the calcaneal tendon to free them from the underlying tissues.

5.	Cut a piece of thread about 10 inches long and use the glass probe to slide the thread under the calcaneal tendon. Knot the thread firmly around the tendon and then sever the tendon distal to the thread. Alternatively, you can bend a common pin into a Z-shape and insert the pin securely into the tendon. The thread is then attached to the opposite end of the pin. Once the tendon has been tied or pinned, the frog is ready for experimentation (see Figure 16A.2).

Recording Muscle Activity

Skeletal muscles consist of thousands of muscle cells and react to stimuli with graded responses. Thus muscle contractions can be weak or vigorous, depending on the requirements of the task. Graded responses (different degrees of shortening) of a skeletal muscle depend on the number of muscle cells being stimulated. In the intact organism, the number of motor units firing at any one time determines how many muscle cells will be stimulated. In this laboratory, the frequency and strength of an electrical current determines the response.

A single contraction of skeletal muscle is called a muscle twitch. A tracing of a muscle twitch (Figure 16A.3) shows three distinct phases: latent, contraction, and relaxation. The latent phase is the interval from stimulus application until the muscle begins to shorten. Although no activity is indicated on the tracing during this phase, important electrical and chemical changes are occurring within the muscle. During the contraction phase, the muscle fibers shorten; the tracing shows an increasingly higher needle deflection and the tracing peaks. During the relaxation phase, represented by a downward curve of the tracing, the muscle fibers relax and lengthen. On a slowly moving recording surface, the single muscle twitch appears as a spike (rather than a bell-shaped curve, as in Figure 16A.3), but on a rapidly moving recording surface, the three distinct phases just described become recognizable.

Determining the Threshold Stimulus

1.	Assuming that you have already set up the recording apparatus, set the time marker to deliver one pulse per second and set the paper speed at a slow rate, approximately 0.1 cm per second.

2.	Set the duration control on the stimulator between 7 and 15 msec, multiplier 31 and the voltage control at 0 V, multiplier 31. Turn the sensitivity control knob of the stimulator fully clockwise (lowest value, greatest sensitivity).

3.	Administer single stimuli to the muscle at 1-minute intervals, beginning with 0.1 V and increasing each successive stimulus by 0.1 V until a contraction is obtained (shown by a spike on the paper).

At what voltage did contraction occur?  V

The voltage at which the first perceptible contractile response is obtained is called the threshold stimulus. All stimuli applied prior to this point are termed subthreshold stimuli, because at those voltages no response was elicited.

4.	Stop the recording and mark the record to indicate the threshold stimulus, voltage, and time. Do not remove the record from the recording surface; continue with the next experiment. Remember: keep the muscle preparation moistened with Ringer’s solution at all times.

Observing Graded Muscle Response to Increased 
Stimulus Intensity

1.	Follow the previous setup instructions, but set the voltage control at the threshold voltage (as determined in the first experiment).

2.	Deliver single stimuli at 1-minute intervals. Initially increase the voltage between shocks by 0.5 V; then increase the voltage by 1 to 2 V between shocks as the experiment continues, until contraction height increases no further. Stop the recording apparatus.

What voltage produced the highest spike (and thus the maxi-

mal strength of contraction)?  V

This voltage, called the maximal stimulus (for your muscle specimen), is the weakest stimulus at which all muscle cells are being stimulated.

3.	Mark the record maximal stimulus. Record the maximal stimulus voltage and the time you completed the experiment.

4.	What is happening to the muscle as the voltage is increased?

What is another name for this phenomenon?

5.	Explain why the strength of contraction does not increase once the maximal stimulus is reached.

Timing the Muscle Twitch

1.	Follow the previous setup directions, but set the voltage for the maximal stimulus (as determined in the preceding experiment) and set the paper advance or recording speed at maximum. Record the paper speed setting:

mm/sec

2.	Determine the time required for the paper to advance 
1 mm by using the formula

1 mm

mm/sec (paper speed)

(Thus, if your paper speed is 25 mm/sec, each mm on the chart equals 0.04 sec.) Record the computed value:

1 mm 5  sec

3.	Deliver single stimuli at 1-minute intervals to obtain several “twitch” curves. Stop the recording.

4.	Determine the duration of the latent, contraction, and relaxation phases of the twitches and record the data below.

Duration of latent period:  sec

Duration of contraction period:  sec

Duration of relaxation period:  sec

5.	Label the record to indicate the point of stimulus, the beginning of contraction, the end of contraction, and the end of relaxation.

6.	Allow the muscle to rest (but keep it moistened with Ringer’s solution) before continuing with the next experiment.

Inducing Treppe, or the Staircase Phenomenon

As a muscle is stimulated to contract, a curious phenomenon is observed in the tracing pattern of the first few twitches. Even though the stimulus intensity is unchanged, the height of the individual spikes increases in a stepwise manner, producing a sort of staircase pattern called treppe (Figure 16A.4). This phenomenon is not well understood, but the following explanation has been offered: in the muscle cell’s resting state, there is much less Ca21 in the sarcoplasm and the enzyme systems in the muscle cell are less efficient than after it has contracted a few times. As the muscle cell begins to contract, the intracellular concentration of Ca21 rises dramatically, and the heat generated by muscle activity increases the efficiency of the enzyme systems. As a result, the muscle becomes more efficient and contracts more vigorously. This is the physiological basis of the warm-up period prior to competition in sports events.

1.	Set up the apparatus as in the previous experiment, again setting the voltage to the maximal stimulus determined earlier.

2.	Deliver single stimuli at 1-second intervals until the strength of contraction does not increase further.

3.	Stop the recording apparatus and mark the record treppe. Note also the number of contractions (and seconds) required to reach the constant contraction magnitude. Record the voltage used and the time when you completed this experiment. Continue on to the next experiment.

Observing Graded Muscle Response to Increased 
Stimulus Frequency

Muscles subjected to frequent stimulation, without a chance to relax, exhibit two kinds of responses—wave summation and tetanus—depending on the level of stimulus frequency (Figure 16A.4).

Wave Summation  If a muscle is stimulated with a rapid series of stimuli of the same intensity before it has had a chance to relax completely, the response to the second and subsequent stimuli will be greater than to the first stimulus. This phenomenon, called wave, or temporal, summation, occurs because the muscle is already in a partially contracted state when subsequent stimuli are delivered.

1.	Set up the apparatus as in the previous experiment, setting the voltage to the maximal stimulus as determined earlier and the chart speed to maximum.

2.	With the stimulator in single mode, deliver two successive stimuli as rapidly as possible.

3.	Shut off the recorder and label the record as wave summation. Note also the time, the voltage, and the frequency. What did you observe?

Tetanus  Stimulation of a muscle at an even higher frequency will produce a “fusion” (complete tetanization) of the summated twitches. In effect, a single sustained contraction is achieved in which no evidence of relaxation can be seen (see Figure 16A.4). Complete or fused tetanus is a feature of normal skeletal muscle functioning; the single muscle twitch is primarily a laboratory phenomenon.

1.	To demonstrate fused tetanus, maintain the conditions used for wave summation except for the frequency of stimulation. Set the stimulator to deliver 60 stimuli per second.

2.	As soon as you obtain a single smooth, sustained contraction (with no evidence of relaxation), discontinue stimulation and shut off the recorder.

3.	Label the tracing with the conditions of experimentation, the time, and the area of fused or complete tetanus.

Inducing Muscle Fatigue

Muscle fatigue, the loss of the ability to contract, is believed to be a result of the oxygen debt that occurs in the tissue after prolonged activity (through the accumulation of such waste products as lactic acid, as well as the depletion of ATP). True muscle fatigue rarely occurs in the body because it is most often preceded by a subjective feeling of fatigue. Furthermore, fatigue of the neuromuscular junctions typically precedes fatigue of the muscle.

1.	To demonstrate muscle fatigue, set up an experiment like the tetanus experiment but continue stimulation until the muscle completely relaxes and the contraction curve returns to the base line.

2.	Measure the time interval between the beginning of complete tetanus and the beginning of fatigue (when the tracing begins its downward curve). Mark the record appropriately.

3.	Determine the time required for complete fatigue to occur (the time interval from the beginning of fatigue until the return of the curve to the base line). Mark the record appropriately.

4.	Allow the muscle to rest (keeping it moistened with Ringer’s solution) for 10 minutes, and then repeat the experiment.

What was the effect of the rest period on the fatigued muscle?

What is the physiological basis for this reaction?

Determining the Effect of Load 
on Skeletal Muscle

When the fibers of a skeletal muscle are slightly stretched by a weight or tension, the muscle responds by contracting more forcibly and thus is capable of doing more work. When the actin and myosin barely overlap, sliding can occur along nearly the entire length of the actin filaments. If the load is increased beyond the optimum, the latent period becomes longer, contractile force decreases, and relaxation (fatigue) occurs more quickly. With excessive stretching, the muscle is unable to develop any tension and no contraction occurs. Since the filaments no longer overlap at all with this degree of stretching, the sliding force cannot be generated.

If your equipment allows you to add more weights to the muscle specimen or to increase the tension on the muscle, perform the following experiment to determine the effect of loading on skeletal muscle and to develop a work curve for the frog’s gastrocnemius muscle.

1.	Set the stimulator to deliver the maximal voltage as previously determined.

2.	Stimulate the unweighted muscle with single shocks at 1- to 2-second intervals to achieve three or four muscle twitches.

3.	Stop the recording apparatus and add 10 g of weight or tension to the muscle. Restart and advance the recording about 1 cm, and then stimulate again to obtain three or four spikes.

4.	Repeat the previous step seven more times, increasing the weight by 10 g each time until the total load on the muscle is 80 g or the muscle fails to respond. If the calcaneal tendon tears, the weight will drop, thus ending the trial. In such cases, you will need to prepare another frog’s leg to continue the experiments and the maximal stimulus will have to be determined for the new muscle preparation.

5.	When these “loading” experiments are completed, discontinue recording. Mark the curves on the record to indicate the load (in grams).

6.	Measure the height of contraction (in millimeters) for each sequence of twitches obtained with each load, and insert this information on the chart on page 176.

7.	Compute the work done by the muscle for each twitch (load) sequence.

Weight of load (g) 3 distance load lifted (mm) 5 work done

Enter these calculations into the chart in the column labeled Work done, Trial 1.

8.	Allow the muscle to rest for 5 minutes. Then conduct a second trial in the same manner (i.e., repeat steps 2 through 7). Record this second set of measurements and calculations in the columns labeled Trial 2. Be sure to keep the muscle well moistened with Ringer’s solution during the resting interval.

9.	Using two different colors, plot a line graph of work done against the weight on the grid accompanying the chart for each trial. Label each plot appropriately.

10.	Dismantle all apparatus and prepare the equipment for storage. Dispose of the frog remains in the appropriate container. Discard the gloves as instructed and wash and dry your hands.

11.	Inspect your records of the experiments and make sure each is fully labeled with the experimental conditions, the date, and the names of those who conducted the experiments. For future reference, attach a tracing (or a copy of the tracing) for each experiment to this page. n

Activity 4:

Electromyography in a Human Subject Using Biopac®

Part 1: Temporal and Multiple Motor Unit Summation

This activity is an introduction to a procedure known as electromyography, the recording of skin-surface voltage manifestations of underlying skeletal muscle contraction. The actual visible recording of the resulting voltage waveforms is called an electromyogram (EMG).

A single skeletal muscle consists of numerous elongated skeletal muscle cells, also called skeletal muscle fibers. These muscle cells are excited by motor neurons of the central nervous system whose axons traverse via nerves of the body to terminate on the muscle itself. The individual axon of a motor neuron eventually branches into multiple axon terminals, each of which synapses on a single muscle fiber of that muscle. The number of muscle cells controlled by a single motor neuron can vary greatly, from five (such as fine control needed in the hand) to 500 (for gross control, such as in the buttocks). The most important organizational concept in the physiology of muscle contraction is the motor unit (see Plate 4 of the Histology Atlas), a single motor neuron and all of the cells within a muscle that it activates. Understanding gross muscular contraction depends upon realizing that a single muscle consists of multiple motor units, and that the gradual and coordinated activation of these motor units results in graded contraction of the whole muscle.

The nervous system controls muscle contraction by two mechanisms:

1.	Multiple motor unit summation (recruitment)—the gradual activation of more and more motor units, and

2. Temporal (wave) summation—an increase in the frequency of nerve impulses for each active motor unit.

Thus, increasing the force of contraction of a muscle arises from gradually increasing the number of motor units being activated and increasing the frequency of nerve impulses delivered by those active motor units. It is in this way that the muscle can produce useful graded contractions required for the activity at hand.

A final phenomenon, which is hardly noticeable except when performing electromyography, is tonus, a constant state of slight excitation of a muscle while it is in the relaxed state. Even while “at rest,” a small number of motor units to a skeletal muscle remain slightly active to prepare the muscle for possible contraction.

Setting up the Equipment

1.	Connect the BIOPAC® unit to the computer.

2.	Turn the computer ON.

3.	Make sure the Biopac® MP30 (or MP35) unit is OFF.

4.	Plug in the equipment as shown in Figure 16A.5.

•	Electrode lead set—CH 3

•	Headphones—back of unit

5.	Turn the Biopac® MP30 (or MP35) unit ON.

6.	Attach three electrodes to the subject’s dominant forearm as shown in Figure 16A.6 and attach the electrode leads according to the colors indicated.

7.	Start the Biopac® Student Lab program by double-clicking the icon on the desktop or by following your instructor’s guidance.

8.	Select lesson L01-EMG-1 from the menu and click OK.

9.	Type in a filename that will save this subject’s data on the computer hard drive. You may want to use subject last name followed by EMG-1 (for example, SmithEMG-1), then click OK.

Calibrating the Equipment

1.	With the subject in a still position, click Calibrate. This will initiate the process whereby the computer will automatically establish parameters to record the data properly for the subject.

2.	After clicking OK, the subject will wait for two seconds, clench the fist tightly for two seconds, then release the fist and relax. The computer will then automatically stop the recording.

3.	Observe the recording of the calibration data, which should look like the waveform in Figure 16A.7.

•	If the data look very different, click Redo Calibration and repeat the steps above.

•	If the data look similar, proceed to the next section.

Recording the Data

1.	After clicking Record, the subject will clench the fist softly for two seconds, then relax for two seconds, then clench harder for two seconds, and relax for two seconds, then clench even harder for two seconds, and relax for two seconds, and finally clench with maximum strength then relax. The result should be a series of four clenches of increasing intensity.

When the subject is ready to do this, click Record; then click Suspend when the subject is finished.

2.	Observe the recording of the data, which should look like the waveforms in Figure 16A.8.

•	If the data look very different, click Redo and repeat the steps above.

•	If the data look similar, click STOP. Click YES in responding to the question, “Are you finished with both forearm recordings?”

Optional: Anyone can use the headphones to listen to an “auditory version” of the electrical activity of contraction by clicking Listen and having the subject clench and relax. Note that the frequency of the auditory signal corresponds with the frequency of action potentials stimulating the muscles. The signal will continue to run until you click STOP.

3.	Click Done, and then remove all electrodes from the forearm.

•	If you wish to record from another subject, choose the Record from another subject option and return to step 6 under Setting up the Equipment.

•	If you are finished recording, choose Analyze current data file and click OK. Proceed to Data Analysis, step 2.

Data Analysis

1. If just starting the Biopac® program to perform data analysis, enter Review Saved Data mode and choose the file with the subject’s EMG data (for example, SmithEMG-1).

2. Observe the Raw EMG recording and computer-calculated Integrated EMG. The raw EMG is the actual recording of the voltage (in mV) at each instant in time, while the integrated EMG reflects the absolute intensity of the voltage from baseline at each instant in time.

3. To analyze the data, set up the first four pairs of channel/measurement boxes at the top of the screen by selecting the following channels and measurement types from the drop-down menus (note that Channel 3 contains the raw EMG data and Channel 40 contains the integrated EMG data):

Channel	Measurement

CH 3	min

CH 3	max

CH 3	p-p

CH 40	mean

4.	Use the arrow cursor and click the I-beam cursor box on the lower right side of the screen to activate the “area selection” function. Using the activated I-beam cursor, highlight the first EMG cluster, representing the first fist clenching (Figure 16A.9).

5.	Notice that the computer automatically calculates the min, max, p-p, and mean for the selected area. These measurements, calculated from the data by the computer, represent the following:

min: displays the minimum value in the selected area.

max: displays the maximum value in the selected area.

p-p (peak-to-peak): measures the difference in value between the highest and lowest values in the selected area.

mean: displays the average value in the selected area.

6.	Write down the data for clench 1 in the chart on page 179 (round to the nearest 1/100 mV).

7.	Using the I-beam cursor, highlight the clusters for clenches 2, 3, and 4, and record the data in the chart below.

From the data recorded in the chart above, what trend do you observe for each of these measurements as the subject gradually increases the force of muscle contraction?

What is the relationship between maximum voltage for each clench and the number of motor units in the forearm that are being activated?

Part 2: Force Measurement 
and Fatigue

In this set of activities you will be observing graded muscle contractions and fatigue in a subject. Graded muscle contractions, which represent increasing levels of force generated by a muscle, depend upon: (1) the gradual activation of more motor units, and (2) increasing the frequency of motor neuron action potentials for each active motor unit. This permits a range of forces to be generated by any given muscle or group of muscles, all the way up to the maximum force.

For example, the biceps muscle will have more active motor units and exert more force when lifting a 10-kg object than when lifting a 2-kg object. In addition, the motor neuron of each active motor unit will increase the frequency of action potentials delivered to the motor units, resulting in a phenomenon called tetanus, a smooth, sustained muscle contraction that results from high frequency stimulation.

When all of the motor units of a muscle are activated and in a state of tetanus, the maximum force of that muscle is achieved. Fatigue is a condition in which the muscle gradually loses some or all of its ability to contract after contracting for an extended period of time. Physiological fatigue occurs when there is a subsequent decrease in the amount of ATP available for contraction, increased levels of the anaerobic by-product, lactic acid, and ionic imbalances.

In this exercise, you will observe and measure graded contractions of the fist, and then observe fatigue, in both the dominant and nondominant arms. To measure the force generated during fist contraction, you will use a hand dynamometer (dynamo 5 force; meter 5 measure). The visual recording of force is called a dynagram, while the procedure of measuring the force itself is called dynamometry.

You will first record data from the subject’s dominant arm (forearm 1) indicated by his or her “handedness,” then repeat the procedures on the subject’s nondominant arm (forearm 2) for comparison.

Setting up the Equipment

1.	Connect the BIOPAC® unit to the computer and turn the computer ON.

2.	Make sure the Biopac® MP30 (or MP35) unit is OFF.

3.	Plug the equipment as shown in Figure 16A.10.

•	Hand dynamometer—CH 1

•	Electrode lead set—CH 3

•	Headphones—back of unit

4.	Turn the Biopac® MP30 (or MP35) unit ON.

5.	Attach three electrodes to the subject’s dominant forearm (forearm 1) as shown in Figure 16A.11, and attach the electrode leads according to the colors indicated.

6.	Start the Biopac® Student Lab program on the computer by double-clicking the icon on the desktop or by following your instructor’s guidance.

7.	Select lesson L02-EMG-2 from the menu and click OK.

8.	Type in a filename that will save this subject’s data on the computer hard drive. You may want to use subject last name followed by EMG-2 (for example, SmithEMG-2), then click OK.

Calibrating the Equipment

1.	With the hand dynamometer at rest on the table, click Calibrate. This will initiate the process whereby the computer will automatically establish parameters to record the data properly for the subject.

2.	A pop-up window prompts the subject to remove any grip force. This is to ensure that the dynamometer has been at rest on the table and that no force is being applied. When this is so, click OK.

3.	As instructed by the pop-up window, the subject is to grasp the hand dynamometer with the dominant hand as close to the crossbar as possible without actually touching the crossbar, as is shown in Figure 16A.12. The crossbar should be held parallel to the floor, not at an angle. When this is so, click OK.

4.	As instructed by the next pop-up window, the subject will wait two seconds, then squeeze the hand dynamometer as hard as possible for two seconds, and then relax. The computer will automatically stop the calibration.

5.	When the subject is ready to proceed, click OK and follow the instructions noted in step 4. The calibration will stop automatically.

6.	Observe the recording of the calibration data, which should look like the waveforms in Figure 16A.13.

•	If the data look very different, click Redo Calibration and repeat the steps above.

•	If the data look similar, proceed to the next section.

Recording Incremental Force Data 
for the Forearm

1.	Using the force data from the calibration procedure, estimate the maximum force that the subject generated (kg).

2.	Divide that maximum force by four. In the next activity, the subject will gradually increase the force in these approximate kg increments. For example, if the maximum force generated was 20 kg, the increment will be 20/4 = 5 kg. The subject will grip at 5 kg, then 10 kg, then 15 kg, and then 20 kg. The subject should watch the tracing on the computer screen and compare it to the scale on the right to determine each target force.

3.	After clicking Record, the subject will wait two seconds, clench at the first force increment two seconds (for example, 5 kg), then relax two seconds, clench at the second force increment two seconds (10 kg), then relax two seconds, clench at the third force increment two seconds (15 kg), then relax two seconds, then clench with the maximum force two seconds (20 kg), and then relax. When the subject relaxes after the maximum clench, click Suspend to stop the recording.

4.	Observe the recording of the data, which should look similar to the data in Figure 16A.14.

•	If the data look very different, click Redo and repeat the steps above.

•	If the data look similar, proceed to observation and recording of muscle fatigue.

Recording Muscle Fatigue Data for the Forearm

Continuing from the end of the incremental force recording, the subject will next record muscle fatigue.

1.	After clicking Resume, the recording will continue from where it stopped and the subject will clench the dynamometer with maximum force for as long as possible. A triangular “marker” will appear at the top of the data, denoting the beginning of this recording segment. When the subject’s clench force falls below 50% of the maximum (for example, below 10 kg for a subject with 20 kg maximum force), click Suspend. The subject should not watch the screen during this procedure; those helping can inform the subject when it is time to relax.

2.	Observe the recording of the data, which should look similar to the data in Figure 16A.15.

•	If the data look very different, click Redo and repeat the steps above.

•	If the data look similar, click Stop.

3.	When you click Stop, a dialog box comes up asking if you are sure you want to stop recording. Clicking No will bring you back to the Resume or Stop options, providing one last chance to redo the fatigue recording. Clicking Yes will end the recording session and automatically save your data with an added file extension (1-L02), which indicates forearm 1 for lesson 2. This extension will be added onto your previously entered filename (for example, it would appear as SmithEMG-2-1-L02).

Optional: Anyone can use the headphones to listen to an “auditory version” of the electrical activity of contraction by clicking Listen and having the subject clench and relax. Note that the frequency of the auditory signal corresponds with the frequency of action potentials stimulating the muscles. The signal will continue to run until you click STOP.

4.	If you want to proceed with recording data from the nondominant arm (forearm 2), move to the next section. If not, click Done, then choose Analyze current data file and proceed to Data Analysis, step 2.

5.	Remove all electrodes from the arm of the subject.

Recording from the Nondominant Arm

1.	Click on Forearm 2.

2.	To record from the nondominant forearm, return to step 5 under Setting up the Equipment, and repeat the entire procedure up to step 5 above. The extension 2-L02 will be added to your filename as described in step 3 above.

Data Analysis

1.	In Review Saved Data mode, select the file that is to be analyzed (for example, Smith EMG-2-1-L02). If data was collected for both forearms, be sure to select the file with the proper extension (1-L02 dominant; 2-L02 nondominant).

2.	Observe the recordings of the clench Force (kg), Raw EMG (mV), and computer-calculated Integrated EMG (mV). The Force is the actual measurement of the strength of clench in kilograms at each instant in time. The raw EMG is the actual recording of the voltage (in mV) at each instant in time, while the integrated EMG indicates the absolute intensity of the voltage from baseline at each instant in time.

3.	To analyze the data, set up the first three pairs of channel/measurement boxes at the top of the screen. Channel 1 contains the Force data, Channel 3 contains the Raw EMG data, and Channel 40 contains the Integrated EMG data. Select the following channels and measurement types:

Channel	Measurement

CH 1	mean

CH 3	p-p

CH 40	mean

4.	Use the arrow cursor and click the I-beam cursor box on the lower right side of the screen to activate the “area selection” function. Using the activated I-beam cursor, highlight the “plateau phase” of the first clench cluster. The plateau should be a relatively flat force in the middle of the cluster as shown in Figure 16A.16.

5.	Observe that the computer automatically calculates the p-p and mean values for the selected area. These measurements, calculated from the data by the computer, represent the following:

p-p (peak-to-peak): measures the difference in value between the highest and lowest values in the selected area

mean: displays the average value in the selected area

6. In the chart below, record the data for clench 1 (for example, 5-kg clench) to the nearest 1/100th.

7. Using the I-beam cursor, highlight the clusters for the subsequent clenches and record the data in the chart below.

8.	Scroll along the bottom of the data page to the segment that includes the recording of muscle fatigue (it should begin after the “marker” that appears at the top of the data).

9.	Change the channel/measurement boxes so that the first two selected appear as follows (the third should be set to “none”):

Channel	Measurement

CH 1	value

CH 40	delta T

value: measures the highest value in the selected area (CH 1 is force measured in kg)

delta T: measures the time elapsed in the selected area (CH 40 is time measured in seconds)

10.	Use the arrow cursor and click on the I-beam cursor box on the lower right side of the screen to activate the “area selection” function.

11.	Using the activated I-beam cursor, select just the single point of maximum clench strength at the start of this data segment, as shown in Figure 16A.17.

12.	Note the maximum force measurement for this point (CH 1). Record this data in the chart on the next page.

13.	Calculate the value of 50% of the maximum clench force, and record this in the data chart.

14.	Using a metric tape measure, measure the circumference of the subject’s dominant forearm at its greatest diameter:

______cm.

15.	Measure the amount of time that elapsed between the initial maximum force and the point at which the subject fatigued to 50% of this level. Using the activated I-beam cursor, highlight the area from the point of 50% clench force back to the point of maximal clench force, as shown in Figure 16A.18.

16.	Note the time it took the subject to reach this point of fatigue (CH 40 delta T) and record this data in the Dominant Forearm Fatigue measurement chart on page 182.

Repeat Data Analysis for the Nondominant Forearm

1.	Return to step 1 of the Data Analysis section and repeat the same measurements for the nondominant forearm (forearm 2).

2.	Record your data in the charts in the right column; this data will be used for comparison.

3.	Using a tape measure, measure the circumference of the

subject’s nondominant forearm at its greatest:______cm.

4.	When finished, exit the program by going to the File menu at the top of the screen and clicking Quit.

Is there a difference in maximal force that was generated between the dominant and nondominant forearms? If so, how much?

Calculate the percentage difference in force between the dominant maximal force and nondominant maximal force.

Is there a difference in the circumference between the dominant and nondominant forearms? If so, how much?

If there is a difference in circumference, is this difference likely to be due to a difference in the number of muscle fibers in each forearm or in the diameter of each muscle fiber in the forearms? Explain.

Compare the time to fatigue between the two forearms.

n

Skeletal Muscle Physiology: Frogs and Human Subjects#	Salts only	Muscle fiber 1	Muscle fiber 2	Muscle fiber 3	Average

Initial length (mm)

Contracted length (mm)

% Contraction

ATP only

Initial length (mm)

Contracted length (mm)

% Contraction

Salts and ATP

Initial length (mm)

Contracted length (mm)

% Contraction#	Exercise 16A				Time elapsed 
		Weight		until fatigue

Load	of object	Subject 1	Subject 2	Subject 3

Appendage	N/A

Lab Manual

Textbook	Skeletal Muscle Physiology: Frogs and Human Subjects#

Figure 16A.1  Preparation of the frog gastrocnemius muscle. Numbers indicate the sequence of manipulation.#	Exercise 16AMaterials:

Channel amplifier and stimulator transducer cable

Stimulator panel and stimulator output extension cable

Myograph

Myograph tension adjuster

Transducer stand

Two pin electrodes

Frog board and straight pins

Prepared frog (gastrocnemius muscle freed and calcaneal tendon 
  ligated with thread)

Frog Ringer’s solution

Procedure:

1.	Connect myograph to transducer stand and attach frog board to stand.

2.	Attach transducer cable to myograph and to input connection on channel amplifier.

3.	Attach stimulator output extension cable to output on stimulator panel (red to red, black to black).

4.	Using clip at opposite end of extension cable, attach cable to bottom of transducer stand adjacent to frog board.

5.	Attach two pin electrodes securely to electrodes on clip.

6.	Place knee of prepared frog in clip on frog board and secure by inserting a straight pin through tissues of frog. Keep frog muscle moistened with Ringer’s solution.

7.	Attach thread ligating the calcaneal tendon of frog to myograph leaf-spring hook.

8.	Adjust position of myograph on stand to produce a constant tension on thread attached to muscle (taut but not tight). Gastrocnemius muscle should hang vertically directly below myograph hook.

9.	Insert free ends of pin electrodes into the muscle, one at proximal end and other at distal end.

Figure 16A.2  Physiograph setup for frog gastrocnemius experiments.	Skeletal Muscle Physiology: Frogs and Human Subjects#

Figure 16A.3  Tracing of a muscle twitch.#	Exercise 16A

Figure 16A.4  Treppe, wave summation, and tetanization. Progressive summation of successive contractions occurs as the rate of stimulation is increased. Fused tetanization occurs when the rate of stimulation reaches approximately 35 per second, and maximum contraction force occurs at a stimulation rate of approximately 50 per second.	Skeletal Muscle Physiology: Frogs and Human Subjects##	Exercise 16ALoad	Distance load	Work done
(g)	lifted (mm)

Trial 1	Trial 2	Trial 1	Trial 2

0

10

20

30

40

50

60

70

80	Skeletal Muscle Physiology: Frogs and Human Subjects#

Figure 16A.5  Setting up the Biopac® MP30 (or MP35) unit to observe temporal and multiple motor unit summation. Plug the headphones into the back of the unit and the electrode lead set into Channel 3.

Figure 16A.6  Placement of electrodes and the appropriate attachment of electrode leads by color.

Figure 16A.7  Example of waveform during the calibration procedure.#	Exercise 16A

Figure 16A.9  Using the I-beam cursor to highlight a cluster of data for analysis.

Figure 16A.8  Example of waveforms during the recording of data. Note the increased signal strength with the increasing force of the clench.	Skeletal Muscle Physiology: Frogs and Human Subjects#	Min	Max	P-P	Mean

Clench 1

Clench 2

Clench 3

Clench 4

Figure 16A.10  Setting up the Biopac® MP30 (MP35) unit to observe graded muscle contractions and muscle fatigue. Plug the headphones into the back of the unit, the hand dynamometer into Channel 1, and the electrode lead set into Channel 3.

Figure 16A.11  Placement of electrodes and the appropriate attachment of electrode leads by color.

Figure 16A.12  Proper grasp of the hand dynamometer.

Figure 16A.13  Example of calibration data. Force is measured in kilograms at the top and electromyography is measured in millivolts at the bottom.

Figure 16A.14  Example of incremental force data.#	Exercise 16ADominant Forearm Clench Increments

Force at 	 	Integrated 
plateau	Raw EMG	EMG
Mean (kg)	P-P (mV)	Mean (mV)

Clench 1

Clench 2

Clench 3

Clench 4

Figure 16A.15  Example of muscle fatigue data.

Figure 16A.16  Highlighting the “plateau” of clench cluster 1.

Figure 16A.17  Selection of single point of maximum clench.	Skeletal Muscle Physiology: Frogs and Human Subjects#Dominant Forearm Fatigue Measurement

50% of the

maximum

Maximum	clench force	Time to

Clench Force	(divide maximum	fatigue
(kg)	clench force by 2)	(seconds)Nondominant Forearm Clench Increments

Force at		Integrated 
plateau	Raw EMG	EMG
Mean (kg)	P-P (mV)	Mean (mV)

Clench 1

Clench 2

Clench 3

Clench 4Nondominant Forearm Fatigue Measurement

50% of the

maximum

Maximum	clench force	Time to

clench force	(divide maximum 	fatigue

(kg)	clench force by 2)	(seconds)

Figure 16A.18  Highlighting to measure elapsed time to 50% of the maximum clench force.