7Chapter sevenChapter sevenDetermining 
the Plastic Limit 
and Plasticity 
Index of Soil

(Referenced Document: ASTM D 4318)Determining
the Plastic Limit
and Plasticity 
Index of Soil

Introduction

Apparatus 
and SuppliesAs mentioned in Chapter 6, the plastic limit is the dividing line between the plastic and semisolid states. It is quantified for a given soil as a specific water content, and from a physical standpoint it is the water content at which the soil will begin to crumble when rolled into small threads. It is identified in the laboratory as the lowest water content at which the soil can be rolled into threads 1_8 in. (3.2 mm) in diameter without the threads breaking into pieces. The plasticity index is the difference between the liquid and plastic limits. Along with the other Atterberg limits, the plastic limit and plasticity index are valuable in identifying and classifying soils.

Evaporating dish (see Figure 7–1)

Spatula (see Figure 7–1)

Ground-glass plate—at least 30 cm (12 in.) square by 1 cm (3_8 in.) thick for mixing soil and rolling plastic limit threads (see Figure 7–1)

Balance (with accuracy to 0.01 g)

Containers (see Figure 7–1)

Oven

Select a 20-g portion of soil from the material prepared for the liquid limit test, either after the second mixing before the test, or from the soil remaining after completion of the test. Reduce the water content of the soil to a consistency at which it can be rolled without sticking to the hands by spreading and mixing continuously on the glass plate or in the storage dish. The drying process may be accelerated by exposing the soil to the air current from an electric fan, or by blotting with paper that does not add any fiber to the soil. Paper such as hard surface paper toweling or high wet strength filter paper is adequate.

The procedure for determining the plastic limit is quite simple. The soil sample is rolled between the fingers and the rolling surface until a 
3.2-mm (1_8-in.) diameter thread is obtained. This thread is broken into pieces, which are then squeezed together again. The resulting mass is rolled once more between the fingers and the rolling surface until another thread of the same diameter is obtained. Each time the soil is rolled out, it becomes drier by losing moisture. The entire process is repeated until the thread crumbles and the soil no longer can be rolled into a thread. At this point, the plastic limit is assumed to have been reached, and the water content (which is the plastic limit) is determined.

The actual step-by-step procedure is as follows (ASTM D 4318-00 [1]):

(1) From this plastic-limit specimen, select a 1.5 to 2.0 g portion. Form the selected portion into an ellipsoidal mass.

(2) Roll the soil mass by one of the following methods (hand or rolling device):

(2.1) Hand Method—Roll the mass between the palm or fingers and the ground-glass plate with just sufficient pressure to roll the mass into a thread of uniform diameter throughout its length (see Note 1). The thread shall be further deformed on each stroke so that its diameter reaches 3.2 mm (1_8 in.), taking no more than 
2 min (see Note 2). The amount of hand or finger pressure required will vary greatly according to the soil being tested, that is, the required pressure typically increases with increasing plasticity. Fragile soils of low plasticity are best rolled under the outer edge of the palm or at the base of the thumb.

Note 1—A normal rate of rolling for most soils should be 80 to 90 strokes per minute, counting a stroke as one complete motion of the hand forward and back to the starting position. This rate of rolling may have to be decreased for very fragile soils.

Note 2—A 3.2-mm (1_8-in.) diameter rod or tube is useful for frequent comparison with the soil thread to ascertain when the thread has reached the proper diameter.

(2.2) Rolling Device Method—Attach smooth unglazed paper to both the top and bottom plates of the plastic limit-rolling device. Place the soil mass on the bottom plate at the midpoint between the slide rails. Place the top plate in contact with the soil mass(es). Simultaneously apply a slight downward force and back and forth motion to the top plate so that the top plate comes into contact with the side rails within 2 min (see Notes 1 and 3). During this rolling process, the end(s) the soil thread(s) shall not contact the side rail(s). If this occurs, roll a smaller mass of soil [even if it is less than that mentioned in (1)].

Note 3—In most cases, two soil masses (threads) can be rolled simultaneously  in the plastic limit-rolling device.

(3) When the diameter of the thread becomes 3.2 mm, break the thread into several pieces. Squeeze the pieces together, knead between the thumb and first finger of each hand, reform into an ellipsoidal mass, and reroll. Continue this alternate rolling to a thread 3.2 mm in diameter, gathering together, kneading and rerolling, until the thread crumbles under the pressure required for rolling and the soil can no longer be rolled into a 3.2-mm diameter thread. It has no significance if the thread breaks into threads of shorter length. Roll each of these shorter threads to 3.2 mm in diameter. The only requirement for continuing the test is that they are able to be reformed into an ellipsoidal mass and rolled out again. The operator shall at no time attempt to produce failure at exactly 3.2 mm diameter by allowing the thread to reach 3.2 mm then reducing the rate of rolling or the hand pressure, or both, while continuing the rolling without further deformation until the thread falls apart. It is permissible, however, to reduce the total amount of deformation for feebly plastic soils by making the initial diameter of the ellipsoidal mass nearer to the required 3.2-mm final diameter. If crumbling occurs when the thread has a diameter greater than 3.2 mm, this shall be considered a satisfactory end point, provided the soil has been previously rolled into a thread 3.2 mm in diameter. Crumbling of the thread will manifest itself differently with the various types of soil. Some soils fall apart in numerous small aggregations of particles, others may form an outside tubular layer that starts splitting at both ends. The splitting progresses toward the middle, and finally, the thread falls apart in many small platy particles. Fat clay soils require much pressure to deform the thread, particularly as they approach the plastic limit. With these soils, the thread breaks into a series of barrel-shaped segments about 3.2 to 9.5 mm (1_8 to 3_8 in.) in length.

(4) Gather the portions of the crumbled thread together and place in a weighed container. Immediately cover the container.

(5) Select another 1.5- to 2.0-g portion of soil from the original 20 g specimen and repeat the operations described in (1) and (2) until the container has at least 6 g of soil.

(6) Repeat (1) through (5) to make another container holding at least 6 g of soil. Determine the water content of the soil contained in the containers in accordance with ASTM Method D 2216 (see Chapter 3).

As indicated in the preceding section, the plastic limit is the water content that exists when the thread crumbles and the soil no longer can be rolled into another thread. Hence, the only data collected and recorded are those required to determine the two water contents (see Chapter 3), namely:

Mass of container, Mc

Mass of container plus moist soil, Mcws

Mass of container plus oven-dried soil, Mcs

After computing the water content of the soil contained in each container [Eq. (3–2)], the average of the two water contents is found. If the difference between the two water contents is greater than the acceptable range for two results listed in Table 7–1 for single-operator precision, the test must be repeated. The plastic limit is the average of the two water contents.

The plasticity index (PI) is determined simply by subtracting the plastic limit (PL) from the liquid limit (LL) (the latter to have been determined previously as explained in Chapter 6). In equation form,

PI 5 LL 2 PL	(7–1)

A laboratory test was conducted according to the procedure previously described. The following data were obtained:

Can No.:	A-4	A-5

Mass of can plus moist soil, Mcws	15.47 g	16.27 g

Mass of can plus oven-dried soil, Mcs	14.79 g	15.46 g

Mass of can, Mc	11.56 g	11.68 g

These data are indicated on the form shown on  page 83. (At the end of the chapter, two blank copies of this form are included for the reader’s use.)

Inasmuch as sample water content calculations have been given in both Chapters 3 and 6, none is given here. The two computed water contents are 21.1% and 21.4% (see form on page 83). Because the difference between these two water contents (0.3%) is less than the acceptable range listed in Table 7–1 for single-operator precision, the plastic limit is the average of the two water contents, or 21.2%.

Table 7–1  Table of Precision EstimatesA [1]

Standard 	Acceptable Range
Material and Type Index	DeviationB	of Two ResultsB

Single-operator precison:

Liquid Limit	0.8	 2.4

Plastic Limit	0.9	 2.6

Multilaboratory precision:

Liquid Limit	3.5	 9.9

Plastic Limit	3.7	10.6

AThe figures given in Column 2 are the standard deviations that have been found to be appropriate for the test results described in Column 1. The figures given in Column 3 are the limits that should not be exceeded by the difference between the two properly conducted tests.

BThese numbers represent, respectively, the (1S) and (D2S) limits as described in Practice C 670.

The plasticity index is determined by subtracting the plastic limit (21.2%, as just determined) from the liquid limit (46.4%, as determined in the section “Numerical Example” in Chapter 6). The value of the plasticity index in this example is therefore 46.4 2 21.2, or 25.2%.

If either the liquid or plastic limit cannot be determined, the plasticity index cannot be computed and should be reported as “NP” (indicating nonplastic). The plasticity index should also be reported as “NP” if the plastic limit turns out to be greater than or equal to the liquid limit. For very sandy soil, the plastic limit test should be performed before the liquid limit test; if it (the plastic limit) cannot be determined, both the liquid and the plastic limit should be reported as “NP.”

The plastic limit is the lower boundary range of the plastic behavior of a given soil. It tends to increase in numerical value as grain size decreases. Its primary use is in association with the other Atterberg limits in soil identification and classification.

[1]  ASTM, 2001 Annual Book of ASTM Standards, West Conshohocken, PA, 2001. Copyright, American Society for Testing and Materials, 100 Barr Harbor Drive, West Conshohocken, PA 19428-2959. Reprinted with 
permission.

Soils Testing Laboratory
Plastic Limit Determination
and Plasticity Index

Sample No.	15	Project No.	SR 2828

Boring No.	B-21	Location	Newell, N.C.

Depth of Sample	3 ft

Description of Sample	Reddish brown silty clay

Tested by	John Doe	Date	1/26/02

Liquid limit 5  46.4  %

Plastic limit 5  21.2  %

Plasticity index 5 liquid limit 2 plastic limit 5  25.2  %

Soils Testing Laboratory
Plastic Limit Determination
and Plasticity Index

Sample No.		Project No.

Boring No.		Location

Depth of Sample

Description of Sample

Tested by		Date

Liquid limit 5         %

Plastic limit 5         %

Plasticity index 5 liquid limit 2 plastic limit 5         %

Soils Testing Laboratory
Plastic Limit Determination
and Plasticity Index

Sample No.		Project No.

Boring No.		Location

Depth of Sample

Description of Sample

Tested by		Date

Liquid limit 5         %

Plastic limit 5         %

Plasticity index 5 liquid limit 2 plastic limit 5         %##	Chapter 7Preparation 
of Test Specimen [1]

Procedure

Figure 7–1  Apparatus for Determining Plastic Limit and Plasticity Index (Courtesy of Soiltest, Inc.)	Determining the Plastic Limit and Plasticity Index of Soil##	Chapter 7Data

Calculations

Determining the Plastic Limit and Plasticity Index of Soil#Numerical Example

#	Chapter 7Conclusions

Reference

Determination No.:	1	2

Can no.		A-4	A-5

Mass of can 1 moist soil, Mcws (g)	15.47	16.27

Mass of can 1 dry soil, Mcs (g)	14.79	15.46

Mass of can, Mc (g)		11.56	11.68

Mass of water, Mw (g)	0.68	0.81

Mass of dry soil, Ms (g)	3.23	3.78

Water content, w (	)	21.1	21.4

Plastic limit (%)		21.2#	Determination No.:	1	2

Can no.

Mass of can 1 moist soil, Mcws (g)

Mass of can 1 dry soil, Mcs (g)

Mass of can, Mc (g)

Mass of water, Mw (g)

Mass of dry soil, Ms (g)

Water content, w (%)

Plastic limit (%)		#	Determination No.:	1	2

Can no.

Mass of can 1 moist soil, Mcws (g)

Mass of can 1 dry soil, Mcs (g)

Mass of can, Mc (g)

Mass of water, Mw (g)

Mass of dry soil, Ms (g)

Water content, w ()

Plastic limit (%)		#